## Slide 1
lh
D
A starting position for calibration is when there is no mirror (horizontal beam), the center of the detector is at the sample height and the detector face is vertical. At this point Hu=Hd=0, X = D. We need to determine X, Hu, and Hd as functions of D and 2θ.
2θ
lv
Hd
Hu
L
X
x
y
z
dH
lh
Hd=0
Hu=0
X = D
X = 0

## Slide 2
lh
D
X = (D + lh) cos(2θ) – lv sin(2θ) – lh
Hu = (D + lh) sin(2θ) + lv cos(2θ) – lv
Hd = Hu + L tan(2θ) + dH/cos(2θ) – dH
2θ
lv
Hu
X
D
2θ
2θ
Hd
Hu
L
L
x
y
z
dH
dH
lh
lv
lh
L

## Slide 3
Dms
D
We replace in previous equations: Hu,d → Hu,d – Dmstan(2α) = Hu,d – S
2θ → 2θ + 2α
2α
2θ
lv
When the mirror is in the beam…
X
L
mirror
sample
x
y
z
CCD
lh
dH
lh
Hu= –S
Hd
Hu
Hd= –S
S=Dmstan(2α)

## Slide 4
We replace in previous equations: Hu,d → Hu,d – Dmstan(2αv+2v) – S0v = Hu,d – S
2θ → 2θ + 2αv + 2v
When the mirror is in the beam AND initial beam is shifted in angle/pos…
Dms
D
2αv
2θ
lv
X
L
mirror
sample
x
y
z
CCD
lh
dH
lh
Hu= –S
Hd
Hu
Hd= –S
S
2v
S=Dmstan(2αv+2v)+S0v
S0v

## Slide 5
Inverse motion equations
Direct equations:
Inverse equations (we presume that Hd must move in sync with Hu and
denote Du = D + lh ):
Du 2cos2(2θ) – 2 Du lv sin(2θ) cos(2θ) + lv2 sin2(2θ) = (X + lh)2
Du 2sin2(2θ) + 2 Du lv sin(2θ) cos(2θ) + lv2 cos2(2θ) = (Hu + lv)2
Du 2 = (X + lh)2 + (Hu + lv)2 – lv2  D =SQRT[(X + lh)2 + (Hu + lv)2 – lv2] – lh
+
X = Du cos(2θ) – lv sin(2θ) – lh
Hu = Du sin(2θ) + lv cos(2θ) – lv
Du cos(2θ) – lv sin(2θ) = X + lh
Du sin(2θ) + lv cos(2θ) = Hu+ lv
(1)
Then, from (1):
X = (D + lh) cos(2θ) – lv sin(2θ) – lh
Hu = (D + lh) sin(2θ) + lv cos(2θ) – lv
Hd = Hu + L tan(2θ) + dH/cos(2θ) – dH
sin(2θ) =
Hu (D + lh) + (D – X) lv
(D + lh) 2 + lv2

## Slide 6
dX = d(D) cos(2θ) – d(2θ) [Du sin(2θ) + lv cos(2θ)]
dHu = d(D) sin(2θ) + d(2θ) [Du cos(2θ) – lv sin(2θ)]
dHd = d(Hu) + d(2θ) [L+dH sin(2θ)] / cos2(2θ)
Differential equations
Direct equations ( we denote: Du = D + lh ):
Inverse equations (we presume that Hd must move in sync with Hu):
d(D) = [dX(X + lh ) + dHu(Hu + lv)] / (D + lh )
d(2θ) = [d(D)cos(2θ) – dX] / (Hu + lv) --- from Eqs. for dX and Hu

## Slide 7
CCD lateral shift must be corrected by: y → y – DL
DL = [D cos(2θ) + Dms + Dmhmv] tan (2αh)
Equations for lateral motion
x
y
z
2αh
HFM-mirror
Sample
CCD
Dms
D cos(2θ)
Dmhmv
VFM-mirror
y=DL
Dmd

## Slide 8
CCD lateral shift must be corrected by: y → y – DL
Equations for lateral motion when initial beam is shifted in angle/pos…
x
y
z
2αh
HFM-mirror
Sample
CCD
Dms
D cos(2θ)
Dmhmv
VFM-mirror
DL
Dmd
2h
S0h
DL = [D cos(2θ) + Dms + Dmhmv] tan (2αh+2h) + S0h